| Telecommunications cabling advice (TCA2) |  |
| --- | --- |

This form is an optional addition to the TCA1 Telecommunications Cabling Advice form. It may be used by registered cablers to alert the customer or building manager of any non-compliant cable installations that are outside the contracted scope of work.

Pre works advice

Post works advice

# Outstanding matters

While undertaking the contracted cabling work, the following issues have been identified with the pre-existing cable installation, which may require your attention:

| # Inadequate separation of communications and electrical cabling | # Urgent safety hazard # Attention required – non-urgent Long term – low safety risk |
| --- | --- |
| # Inappropriate or inadequate support provided to cables | # Urgent safety hazard # Attention required – non-urgent Long term – low safety risk |
| # Cables not secured or fixed | # Urgent safety hazard # Attention required – non-urgent Long term – low safety risk |
| # Non-compliant cabling product used | # Urgent safety hazard Attention required – non-urgent Long term – low safety risk |
| # Non-compliant customer equipment installed | # Urgent safety hazard # Attention required – non-urgent Long term – low safety risk |
| # Non-compliant earthing | # Urgent safety hazard # Attention required – non-urgent Long term – low safety risk |
| # Wrong colour conduit used | # Urgent safety hazard # Attention required – non-urgent Long term – low safety risk |
| # Records are missing or out of date | # Urgent safety hazard # Attention required – non-urgent Long term – low safety risk |
| # Pre-existing cables are worn or frayed | # Urgent safety hazard # Attention required – non-urgent Long term – low safety risk |
| # Pre-existing cabling is not compliant (other) | # Urgent safety hazard # Attention required – non-urgent Long term – low safety risk |