| Telecommunications cabling advice (TCA2) |  |
| --- | --- |

This form is an optional addition to the TCA1 Telecommunications Cabling Advice form. It may be used by registered cablers to alert the customer or building manager of any non-compliant cable installations that are outside the contracted scope of work.

Pre works advice

Post works advice

- Outstanding matters

While undertaking the contracted cabling work, the following issues have been identified with the pre-existing cable installation, which may require your attention:

| - Inadequate separation of communications and electrical cabling | - Urgent safety hazard - Attention required – non-urgent Long term – low safety risk |
| --- | --- |
| - Inappropriate or inadequate support provided to cables | - Urgent safety hazard - Attention required – non-urgent Long term – low safety risk |
| - Cables not secured or fixed | - Urgent safety hazard - Attention required – non-urgent Long term – low safety risk |
| - Non-compliant cabling product used | - Urgent safety hazard Attention required – non-urgent Long term – low safety risk |
| - Non-compliant customer equipment installed | - Urgent safety hazard - Attention required – non-urgent Long term – low safety risk |
| - Non-compliant earthing | - Urgent safety hazard - Attention required – non-urgent Long term – low safety risk |
| - Wrong colour conduit used | - Urgent safety hazard - Attention required – non-urgent Long term – low safety risk |
| - Records are missing or out of date | - Urgent safety hazard - Attention required – non-urgent Long term – low safety risk |
| - Pre-existing cables are worn or frayed | - Urgent safety hazard - Attention required – non-urgent Long term – low safety risk |
| - Pre-existing cabling is not compliant (other) | - Urgent safety hazard - Attention required – non-urgent Long term – low safety risk |